USGS Geomag Data Users:

This is a notification of an impending modification to the Sitka Geomagnetic Observatory (SIT) data.

Geomagnetic Observatory: Sitka (SIT)

Start Date/Time: 07/10/2018 – 18:00:00 UTC

This modification is: planned

NOTES: The fluxgate sensor at the Sitka (SIT) observatory, in Sitka, AK, will be replaced.  This requires a break in real time data continuity, and may result in a brief interval of corrupted raw data in the archive (this will be flagged and removed in subsequent definitive processing, as per usual).

More relevant to real-time data users is that certain derived products cannot be reliably generated until the new instrument has stabilized magnetically, and several absolute calibration measurements have been performed over the course of a few days to weeks following this operation.

The table below details the effects and timelines of this modification on various geomagnetic data and geomagnetic data products.

| Product | Effect | Estimated Start Date/Time: | Estimated End Date/Time: | Notes: |
| --- | --- | --- | --- | --- |
| Raw | Offsets/Drift/ Disturbance | 7/10/2018 18:00 UTC | 7/11/2018 01:00 UTC | allow ample time for hardware swap-out |
| Quasi Definitive | Possible Outage | 7/10/2018 18:00 UTC | 7/12/2018 01:00 UTC | reliable calibration required |
| Definitive | Possible Outage | 7/10/2018 18:00 UTC | 7/12/2018 01:00 UTC | reliable calibration required |
| Adjusted | Outage | 7/10/2018 18:00 UTC | 8/15/2018 00:00 UTC | multiple stable calibrations required |
| XYZ | Offsets | 7/10/2018 18:00 UTC | 8/15/2018 00:00 UTC | multiple stable calibrations required |
| SQ | Offsets/ Drift | 7/10/2018 18:00 UTC | 8/15/2018 00:00 UTC | ~30 Day filter within algorithm |
| SV | Offsets/ Drift | 7/10/2018 18:00 UTC | 8/15/2018 00:00 UTC | ~30 Day filter within algorithm |
| DIST | Offsets/ Drift | 7/10/2018 18:00 UTC | 8/15/2018 00:00 UTC | ~30 Day filter within algorithm |
| DST | NA |  |  | Not a DST Station |

Additional notification will be sent once real-time data products have been fully restored to normal operation.  Please direct any questions or concerns to geomag-data@geohazards.usgs.gov.